## Slide 1: Crystallization Laboratory
Putting crystals in perspective.
Why do I need them? How do I grow them?
M230D, January 2021

## Slide 2: Crystallization is one step in the structure determination pipeline
1) Choose gene product, source organism, full length, fragment, or fusion
2) Choose vector, tag, location of tag (N or C?).
3) Choose host organism, temperature, media, purification scheme.
4) Screen 1000s of conditions for crystal quality.
5) Collect diffraction data. Make heavy atom derivative. Determine heavy atom sites. Calculate map. Interpret map. Refine coordinates.
6) Publish.
select protein target
clone
express
crystallize
solve
deposit in PDB

## Slide 3
Crystallized: 2128
Solved: 1045
Expressed: 27640
Cloned: 27959
Selected Targets: 33209
Joint Center for Structural Genomics established. 2000. Statistics reported http://www.jcsg.org/ on Jan 4, 2010.
Deposited in PDB: 968
8% success
84% success
99% success
49% success
93% success
>dUTPase M. tuberculosis
MSTTLAIVRLDPGLPLPSRAHDGDAGVDLYSAEDVELAPGRRALVRTGVAVAVPFGMVGLVHPRSGLATRVGLSIVNSPGTIDAGYRGEIKVALINLDPAAPIVVHRGDRIAQLLVQRVELVELVEVSSFDEAGLASTSRGDGGHGSSGGHASLGVPRGAAALEHHHHHH
>Wound-induced proteinase inhibitor II|Solanum lycopersicum (4081)
KACTRECGNLGFGICPRSEGSPLNPICINCCSGYKGCNYYNSFGKFICEGESDPKRPNACTFNCDPNIAYSRCPRSQGKSLIYPTGCTTCCTGYKGCYYFGKDGKFVCEGESDEPKANMYPVM
>DNA POLYMERASE BETA)|Homo sapiens (9606)
MSKRKAPQETLNGGITDMLTELANFEKNVSQAIHKYNAYRKAASVIAKYPHKIKSGAEAKKLPGVGTKIAEKIDEFLATGKLRKLEKIRQDDTSSSINFLTRVSGIGPSAARKFVDEGIKTLEDLRKNEDKLNHHQRIGLKYFGDFEKRIPREEMPLPVDSEKDIFDYIQWKYREPKDRSELQMQDIVLNEVKKVDSEYIATVCGSFRRGAESSGDMDVLLTHPSFTSESTKQPKLLHQVVEQLQKVHFITDTLSKGETKFMGVCQLPSKNDEKEYPHRRIDIRLIPKDQYYCGVLYFTGSDIFNKNMRAHALEKGFTINEYTIRPLGVTGVAGE
>1VKU_1|Chain A|acyl carrier protein|Thermotoga maritima (243274)
MGSDKIHHHHHHMERKKLIAKFVEIASEKMGKDLETVDEENTFKELGFDSIDVIDLVMFFEDEFALRIEDEEISKIRKVKDLIDIVIKKLEEIDDEVSEG
>4FM3_1|Chains A,B,C,D|uncharacterized hypothetical protein|Pseudomonas aeruginosa (208964) GDPAPLEQMRLTEQALEQAKAVGATDDVAELKLAQDKYAAAQIAMTAESYKKARLLAEQAELDARLAESKVLTQKSKDQLGELDKSLKRLRKQLGETD
>3QKB_1|Chains A,B,C,D,E|Uncharacterized protein|Pediococcus pentosaceus (278197)
MGSDKIHHHHHHENLYFQGMFITTEGINAGYTIKDVVEATSSLMLASEDIDKYNMFDQLFDEAKQKLKKKADLLEGDGIIGLKYNTEVVEVNGAPKFLVVHGYGTVILIDK
>3QKB_1|Chains A,B,C,D,E|Uncharacterized protein|Pediococcus pentosaceus (278197)
MGSDKIHHHHHHENLYFQGMFITTEGINAGYTIKDVVEATSSLMLASEDIDKYNMFDQLFDEAKQKLKKKADLLEGDGIIGLKYNTEVVEVNGAPKFLVVHGYGTVILIDK
>3QKB_1|Chains A,B,C,D,E|Uncharacterized protein|Pediococcus pentosaceus (278197)
MGSDKIHHHHHHENLYFQGMFITTEGINAGYTIKDVVEATSSLMLASEDIDKYNMFDQLFDEAKQKLKKKADLLEGDGIIGLKYNTEVVEVNGAPKFLVVHGYGTVILIDK
>3QKB_1|Chains A,B,C,D,E|Uncharacterized protein|Pediococcus pentosaceus (278197)
MGSDKIHHHHHHENLYFQGMFITTEGINAGYTIKDVVEATSSLMLASEDIDKYNMFDQLFDEAKQKLKKKADLLEGDGIIGLKYNTEVVEVNGAPKFLVVHGYGTVILIDK
PDB ID 1RX1
PDB ID 2lyz

## Slide 4: Why is it necessary to grow crystals?
Growing a suitable crystal is such a hurdle!

## Slide 5: In a crystal, the diffraction signal is amplified by numerous, regularly repeating units (unit cells).
Diffraction intensity is proportional to the number of unit cells in the crystal (Darwin’s formula, 1914).
A typical 100 mm3 crystal contains 1012 unit cells.
Crystals afford huge signal amplification.
Diffraction from solution is weak.
Scattered rays from 27 molecules in a lattice combine with constructive interference
Scattered rays from 27 molecules in solution combine primarily with destructive interference.

## Slide 6: Three steps to achieve supersaturation.
Crystal growth requires high protein concentration to drive protein molecules in contact.

## Slide 7: 1) Concentrate purified protein before setting up crystallization plate.
  Centricon-centrifugal force
  Amicon-pressure
  Vacuum dialysis
  Dialysis against high molecular weight PEG
  Ion exchange.
  Slow! Avoid precipitation. Co-solvent or low salt to maintain native state.
Concentrate
protein

## Slide 8: 2) Use a precipitating agent
  Polyethylene glycol
    PEG 8000
    PEG 4000
  High salt concentration
    (NH4)2SO4
    NaH2PO4/Na2HPO4Polyethylene glycol
  Small organics
    ethanol
    Methylpentanediol (MPD)
PEG
Polymer of ethylene glycol
Precipitating agents monopolize water molecules, driving proteins to neutralize their surface charges by interacting with one another. It can lead to (1) amorphous precipitate or (2) crystals.

## Slide 9: 3) Use vapor diffusion to dehydrate the protein solution
  Hanging drop vapor diffusion
  Sitting drop vapor diffusion
  Dialysis
  Liquid-liquid interface diffusion
Note: Ammonium sulfate concentration is 2M in reservoir and only 1M in the drop.
With time, water will vaporize from the drop and condense in the reservoir in order to balance the salt concentration.—SUPERSATURATION is achieved!
2M ammonium sulfate
Drop =½ protein + ½ reservoir

## Slide 10: A Phase Diagram illustrates how combinations of protein and precipitant concentrations produce crystals or precipitate, or clear solutions.
Precipitating agent concentration
Naomi E Chayen & Emmanuel Saridakis Nature Methods - 5, 147 - 153 (2008)Published online: 30 January 2008; | doi:10.1038/nmeth.f.203

## Slide 11: Conventionally, try shotgun screening first, then systematic screening
Shotgun- for finding initial conditions, samples different preciptating agents, pHs, salts.
Systematic-for optimizing crystallization conditions.
First commercially
Available crystallization
Screening kit.
Hampton Crystal Screen 1

## Slide 12: The details of the experiment.

## Slide 13: Goal: crystallize Proteinase K
Number of amino acids: 280
Molecular weight: 29038.0
Theoretical pI: 8.20
Non-specific serine protease frequently used as a tool in molecular biology.
MAAQTNAPWGLARISSTSPGTSTYYYDESAGQGSCVYVIDTGIEASH
PEFEGRAQMVKTYYYSSRDGNGHGTHCAGTVGSRTYGVAKKTQLFGVKVLDDNGS
GQYSTIIAGMDFVASDKNNRNCPKGVVASLSLGGGYSSSVNSAAARLQSSGVMVA
VAAGNNNADARNYSPASEPSVCTVGASDRYDRRSSFSNYGSVLDIFGPGTSILST
WIGGSTRSISGTSMATPHVAGLAAYLMTLGKTTAASACRYIADTANKGDLSNIPF
GTVNLLAYNNYQA
Ala (A) 33 11.8%
Arg (R) 12 4.3%
Asn (N) 17 6.1%
Asp (D) 13 4.6%
Cys (C) 5 1.8%
Gln (Q) 7 2.5%
Glu (E) 5 1.8%
Gly (G) 33 11.8%
His (H) 4 1.4%
Ile (I) 11 3.9%
Leu (L) 14 5.0%
Lys (K) 8 2.9%
Met (M) 6 2.1%
Phe (F) 6 2.1%
Pro (P) 9 3.2%
Ser (S) 37 13.2%
Thr (T) 22 7.9%
Trp (W) 2 0.7%
Tyr (Y) 17 6.1%
Val (V) 19 6.8%

## Slide 14: Reservoir Solutions
There are three components to each reservoir: (NH4)2SO4, Tris buffer, and water.
We are varying the concentration of (NH4)2SO4 along a row.
Conditions are identical within a column.
Complete pipetting one chemical to all reservoirs before advancing to another chemical—it saves tips.
Complete one column before advancing to another column —it saves time in adjusting pipet volume.
Linbro or VDX plate
Volumes are in μL

## Slide 15: Practical Considerations
When reservoirs are ready, laycoverslips on the tray lid,
Then pipet 1.5 μL protein and 1.5 μL corresponding reservoir on slips
Invert slips over reservoir.
Only 6 at a time, or else dry out.
tray containing reservoir solutions
Gently swirl tray to mix reservoir solutions.
tray lid
tray
0
1
5
P20
|||||

## Slide 16: Setting the drops (speeded up by 400%)

## Slide 17: Do not press on coverslips (greasy fingers obscure view of crystals, may break glass)

## Slide 18: Proper use of the pipetor.

## Slide 19: Which pipetor would you use for delivering 320 uL of liquid?
P1000
P200
P20

## Slide 20: Each pipetor has a different range of accuracy
P1000
P200
P20
200-1000uL
20-200uL
1-20uL

## Slide 21: Which pipetor would you use for delivering 170 uL of ammonium sulfate?
P1000
P200
P20

## Slide 22: How much volume will this pipetor deliver?
0
2
7
P200
|||||

## Slide 23: How much volume will this pipetor deliver?
1
7
0
P20
|||||

## Slide 24: How much volume will this pipetor deliver?
0
2
7
P1000
|||||

## Slide 25: What is wrong with this picture?
0
2
7
P1000
|||||
-
-
-
-
50 mL

## Slide 26: What is wrong with this picture?
0
2
7
P1000
|||||
-
-
-
-
50 mL

## Slide 27: Dip tip in stock solution, just under the surface.
0
2
7
P1000
|||||
-
-
-
-
50 mL

## Slide 28: Withdrawing and Dispensing Liquid. 3 different positions
0
2
7
P1000
|||||
0
2
7
P1000
|||||
0
2
7
P1000
|||||
First stop
Start position
Second stop

## Slide 29: Withdrawing solution: set volume, then push plunger to first stop to push air out of the tip.
0
2
7
P1000
|||||
First stop
Start position
Second stop
-
-
-
-
50 mL

## Slide 30: Dip tip below surface of solution. Then release plunger gently to withdraw solution
0
2
7
P1000
|||||
First stop
Start position
Second stop

## Slide 31: To expel solution, push to second stop.
0
2
7
P1000
|||||
First stop
Start position
Second stop

## Slide 32: When dispensing protein, just push to first stop. Bubbles mean troubles.
0
2
7
P1000
|||||
First stop
Start position
Second stop

## Slide 33: Hanging drop vapor diffusion step two
Pipet 1.5 uL of concentrated protein (50 mg/mL) onto a siliconized glass coverslip.
Pipet 1.5 uL of the reservoir solution onto the protein drop
2M ammonium sulfate
0.1M buffer
BUBBLES MEAN TROUBLES
Expel to 1st stop, not 2nd stop!

## Slide 34: Hanging drop vapor diffusion step three
Invert cover slip over reservoir quickly & deliberately.
  Don’t hesitate when coverslip on its side or else drop will roll off cover slip.
  Don’t get fingerprints on coverslip –they obscure your view of the crystal under the microscope.

## Slide 35: Proteinase K time lapse photography
illustrates crystal growth in 20 minute increments
film ends after 5 hours
500 mm

## Slide 36: Heavy Atom Gel Shift Assay. Why?

## Slide 37: Why are heavy atoms used to solve the phase problem?
Phase problem was first solved in 1960. Kendrew & Perutz soaked heavy atoms into a hemoglobin crystal, just as we are doing today. (isomorphous replacement).
Heavy atoms are useful because they are electron dense. Bottom of periodic table.
High electron density is useful because X-rays are diffracted from electrons.
When the heavy atom is bound to discrete sites in a protein crystal (a derivative), it alters the X-ray diffraction pattern slightly.
Comparing diffraction patterns from native and derivative data sets gives phase information.

## Slide 38: Why do heavy atoms have to be screened?
To affect the diffraction pattern, heavy atom binding must be specific
  Must bind the same site (e.g. Cys 134) on every protein molecule throughout the crystal.
  Non specific binding does not help.
Specific binding often requires specific side chains (e.g. Cys, His, Asp, Glu) and geometry.
  It is not possible to determine whether a heavy atom will bind to a protein given only its amino acid composition.

## Slide 39: Before 2000, trial & error was the primary method of heavy atom screening
Pick a heavy atom compound
  hundreds to chose from
Soak a crystal
  Most of the time the heavy atom will crack the crystal.
  If crystal cracks, try lower concentration or soak for less time.
  Surviving crystal is sent for data collection.
Collect a data set
Compare diffraction intensities between native and potential derivative.
Enormously wasteful of time and resources. Crystals are expensive to make.
How many crystallization plates does it take to find a decent heavy atom derivative?

## Slide 40: Heavy Atom Gel Shift Assay
Specific binding affects mobility in native gel.
Compare mobility of protein in presence and absence of heavy atom.
Heavy atoms which produce a gel shift are good candidates for crystal soaking
Collect data on soaked crystals and compare with native.
Assay performed on soluble protein, not crystal.
None Hg Au Pt Pb Sm

## Slide 41: Procedures
Just incubate protein with heavy atom for a minute.
  Pipet 3 uL of protein on parafilm covered plate.
  Pipet 1 uL of heavy atom (100 mM) as specified.
  Give plate to me to load on gel.
Run on a native gel
We use PhastSystem
Reverse Polarity electrode
Room BH269 (Yeates Lab)

## Slide 42: What makes crystallization such a difficult challenge?
DGcrystal=DHprotein-T(DSprotein+DSsolvent)
1
2
3

## Slide 43: DHcrystal is modestly favorable (0 to -17 kcal/mol)
Lattice contacts contribute: (1) favorable H-bonds, (2) van der Waals contacts, (3) charge complementation.
protein crystal
protein in solution

## Slide 44: TDSprotein is strongly unfavorable (+7 to +25 kcal/mol)
protein crystal
protein in solution
    3 degrees of freedom in orientation
    3 degrees of freedom in translation
    0 degrees of freedom in orientation
    0 degrees of freedom in translation

## Slide 45: TDSsolvent is favorable (-7.5 to -50 kcal/mol)
protein crystal
protein in solution
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
    3 degrees of freedom in orientation
    3 degrees of freedom in translation
    0 degrees of freedom in orientation
    0 degrees of freedom in translation

## Slide 46: DGcrystal=DHcrystal-T(DSprotein+DSsolvent)
DGcrystal= small favorable + large unfavorable + large favorable DGcrystal= small favorable

## Slide 47: Strategies to lessen the entropic penalty, TDSprotein.
Eliminate floppy, mobile termini (cleave His tags)
Express individual domains separately and crystallize separately, or…
Add a ligand (or protein binding partners) that bridges the domains and locks them together.
Mutate high entropy residues (Glu, Lys) to Ala. (http://services.mbi.ucla.edu/SER/)
or
mutate

## Slide 48
Increase [protein] to favor crystallization
DG
N soluble
lysozyme
molecules
nM→Mn
1 crystal
(lysozyme)N
Increasing the monomer concentration [M] pushes the equilibrium toward the product.
nM→Mn
DG=DGo+RTln( [Mn]/[M]n )
Lesson: To crystallize a protein, you need to increase its concentration to exceed its solubility (by 3x). Force the monomer out of solution and into the crystal. Supersaturate!
Unstable
nucleus

## Slide 49: Waves scattered from identical unit cells sum together, amplifying the signal in particular directions.
Incident X-ray
Interference is constructive because path lengths differ by some integral multiple of the wavelength (nl).
This situation is possible only because the diffracting objects are periodic.
1
2
3
4
5
6
1
2
3
4
5
6
7
1
2
3
4
5
6
7
7
8
8
9
In phase
detector