## Slide 1: Our goal is to compute an experimental electron density map of proteinase K this week
Fourier synthesis
r(xyz)=S |Fhkl| cos2p(hx+ky+lz -ahkl)
hkl
1) To obtain the phases ahkl we collected diffraction intensities from crystals of Proteinase K in the absence and presence of heavy atom compounds (i.e. native and derivatives).
2) The choice of phase for each reflection can be guided by two types of equations:
  a) One relates native to derivative structure factor amplitudes for reflection h,k,l, and requires measurements of “isomorphous differences”
  b) One relates derivative structure factor h,k,l to –h,-k,-l, and requires measurements of “anomalous differences”
3) These two types of equations can be combined.

## Slide 2
SIR phasing uses differences between measurements of |FP (h,k,l)| and |FPH(h,k,l)| (i.e. isomorphous differences)
FP (h,k,l) = FPH(h,k,l)-fH(h,k,l)
SIR

## Slide 3
SAD phasing uses differences between measurements of |FPH(h,k,l)| and |FPH(-h,-k,-l)| (i.e. anomalous differences)
SAD
FP (h,k,l) = FPH(h,k,l)-fH(h,k,l)
FP (h,k,l) = FPH(-h,-k,-l)-fH(-h,-k,-l)
*
*
?

## Slide 4
SIRAS phasing uses a combination of isomorphous and anomalous intensity measurements
FP (h,k,l) = FPH(h,k,l)-fH(h,k,l)
FP (h,k,l) = FPH(h,k,l)-fH(h,k,l)
FP (h,k,l) = FPH(-h,-k,-l)-fH(-h,-k,-l)
*
*
SIRAS
SAD
SIR
FP (h,k,l) = FPH(h,k,l)-fH(h,k,l)
FP (h,k,l) = FPH(-h,-k,-l)-fH(-h,-k,-l)
*
*
?

## Slide 5: Our equation for f predicts that |FPH (HKL) | will change length at different λ and that measuring these “dispersive differences” will be useful for phasing.
Dispersive differences—Differences in reflection intensities due to a change in X-ray wavelength.
f = fo + Df’(l) + iDf”(l)
Normal
scattering
factor.
Real correction factor (absorption)
Imaginary correction factor.
Form factor of heavy atom

## Slide 6: Dispersive differences give a new constraint on the choice of phase for each additional l.
Three phase triangles eliminate phase ambiguity:
FP = FPH(ll) -fH (l1)
FP = FPH(l2) -fH (l2)
FP = FPH(ln) - fH (ln)
...
Measure new |FPH(l)| at each l

## Slide 7: Correction factors are largest near n=nB .
fH = fo+ + i
The IMAGINARY COMPONENT becomes large and positive near n= nB.
The REAL COMPONENT becomes negative near v= nB.
fH = fo+ Df’ + iDf”
Df’
n->
n=nB
n=nB
Df”
After dampening correction
n = frequency incident photon
nB = Bohr frequency of oscillating e- (related to electronic transition, DE)
g = total oscillator strength for electron.
R.W. James, The Optical Principles of Diffraction of X-rays (1948).
Values of fo, Df’, and Df” for any element and wavelength can be retrieved from a table.
http://skuld.bmsc.washington.edu/scatter/

## Slide 8: Choose l values to maximize certainty of phase choice. Diversify fH vectors to maximize displacement between FPH circles.
|FPH(hkl)l1|
|FPH(-h-k-l)l2|*
|FPH(hkl)l2 |
fH l1(-)
|FPH (-h-k-l) l1|*
fH l1(+)
fH l2(+)
fH l2 (-)
|FPH(hkl)l1|
|FPH(-h-k-l)l2|*
|FPH(hkl)l2 |
fH l1(-)
|FPH (-h-k-l) l1|*
fH l1(+)
fH l2(+)
fH l2 (-)
Wise choice
Poor choice

## Slide 9: Each l produces a different f’ and f”, hence a different fH amplitude and phase.
f”
f’
fo
fH(peak)
fH(inflection)
f”
f’
fo
f’
fo
f’
fo
fH(high remote)
fH(low remote)
f”
f”
fH( l ) =|fo + Df’(l) + iDf”(l)| e2pi(hxH+kyH+lzH)
low remote
high remote
1.8
2.0
4.0
3.0
-0.5
-8.0
-3.0
-0.3
inflection
peak
Se

## Slide 10
H K L FPHl1- FPHl1+ FPHl2+ FPHl2-
1 1 1 707.8 712.4 730.8 717.6
1 1 2 733.6 695.3 813.9 805.3
1 1 3 444.5 456.2 296.1 312.5
1 1 4 575.8 564.7 527.4 518.3
1 1 5 827.8 805.4 759.6 766.3
1 1 6 349.8 354.2 375.6 358.9
1 1 7 359.4 390.8 300.5 286.6
1 1 8 362.5 411.2 396.7 411.5
1 2 0 73.8 132.3 149.8 159.8
diffraction
|FPHl1|-1-1-1*
Protein+Heavy atom
crystal
Heavy atom
substructure
Graph
Calculate fH (hkl)
And fH (-h-k-l)
At l1 and l2
A MAD experiment (using two wavelengths)
Crystal
Space
Reciprocal
Space
Interpret
peaks
|FPHl2|-1-1-1*
Include correction for anomalous scattering: Df’(l) and Df”(l)
Anomalous
Difference
Patterson Map
P=SSS(|FPH|hkl-|FPH|-h-k-l)2e 2pi(hx+ky+lz)
|FPHl1|111
|FPHl2|111
linflection
lpeak
fHl1(111)
*fHl1(-1-1-1)
fHl2(111)
*fHl2(-1-1-1)

## Slide 11
A MAD experiment with two wavelengths
real
imaginary
FP(hkl) = FPH (h k l)l1 -fH ( h k l)l1
FP(hkl) = FPH (-h-k-l)l1* -fH (-h-k-l)l1*
FP (hkl) = FPH (h k l)l2 -fH ( h k l)l2
FP (hkl) = FPH (-h-k-l)l2* -fH (-h-k-l)l2*
l1
l2
|FPHl1|-1-1-1*
|FPHl2|-1-1-1*
|FPHl1|111
|FPHl2|111
fHl1(111)
*fHl1(-1-1-1)
fHl2(111)
*fHl2(-1-1-1)

## Slide 12: Hg & Gd have strong anomalous scattering signal even in-house (λ=1.54 Å)
7.8e-
-4.1e-
f”
f’
12.0e-
-9.4e-
f”
f’
Our in-house x-ray wavelength =1.54 Å = 8keV

## Slide 13: What phasing options are available using the data we collected in house?
Isomorphous
Anomalous
Dispersive
FP(hkl)= FPHg (hkl) - fHg(hkl)
FP(hkl)= FPHg(-h-k-l)* - fHg(-h-k-l)*
PCMBS (Hg)
For Lanthanides (Gd or Eu)
FP(hkl)= FPHg(hkl)ln - fHg(hkl)ln
Yes | No
Isomorphous
Anomalous
Dispersive
FP(hkl)= FP·La (hkl) - fLa(hkl)
FP(hkl)= FP·La (-h-k-l)* - fLa(-h-k-l)*
FP(hkl)= FP·Gd (hkl)ln - fGd(hkl)ln
Yes | No
X
X
X
X
X
X
How many circles to draw for each reflection?

## Slide 14: The strategy best suited for our circumstances is SIRAS phasing.
Isomorphous
Anomalous
Dispersive
FP(hkl)= FPHg (hkl) - fHg(hkl)
FP(hkl)= FPHg(-h-k-l)* - fHg(-h-k-l)*
PCMBS (Hg)
For Lanthanides (Gd or Eu)
FP(hkl)= FPHg(hkl)ln - fHg(hkl)ln
Isomorphous
Anomalous
Dispersive
FP(hkl)= FP·La (hkl) - fLa(hkl)
FP(hkl)= FP·La (-h-k-l)* - fLa(-h-k-l)*
FP(hkl)= FP·Gd (hkl)ln - fGd(hkl)ln
OR

## Slide 15: The strategy best suited for our circumstances is SIRAS phasing.
MIRAS phasing would be most powerful but it requires isomorphism among 3 crystals. That is difficult to achieve.
SAD phasing would eliminate difficulties attaining isomorphism, but leaves an ambiguity in choice of phase.
SIRAS is a good compromise. It resolves the phase ambiguity and requires isomorphism between 2 (not 3) crystals.

## Slide 16: Are these crystals isomorphous?
native
Eu,Gd
Hg

## Slide 17: 154 combinations of native and derivative data sets possible
0 = native-daniel
1 = native-diana
2 = native-duilio
3 = native-elena
4 = native-james
5 = native-janet
6 = native-jeannette
7 = native-juan
8 = native-sawaya
9 = native-scott
10 = native-shruti
11 Native data sets
14 heavy atom derivatives
Each student will evaluate one of the 154 difference Patterson maps. Narrow down choices from anomalous difference Patterson.
11 = eu-adrian
12 = eu-sarah
13 = eu-sol
14 = gd-katherine
15 = gd-morgan
16 = gd-reece
17 = pcmbs-andres
18 = pcmbs-aubrey
19 = pcmbs-cameron
20 = pcmbs-inkyu
21 = pcmbs-jongsuk
22 = pcmbs-kylie
23 = pcmbs-marissa
24 = pcmbs-nicole

## Slide 18: Calculate anomalous difference Patterson maps to find which data sets have the strongest binding.
P(uvw)=S (|FPH(h,k,l)|-|FPH(-h,-k,-l)|)2 cos2p(hx+ky+lz -ahkl)
set ahkl=0
hkl

## Slide 19: Anomalous difference Patterson peak heights indicate which data sets might have best phasing power
peak height u v w derivative data
21.93 sigma 0.0588 0.4525 0.2501 pcmbs-cameron.frac
21.90 sigma 0.4520 0.0592 0.2500 pcmbs-jongsuk.frac
17.87 sigma 0.0593 0.4540 0.2502 pcmbs-kylie.frac
9.25 sigma 0.0586 0.4534 0.2499 pcmbs-andres.frac
9.10 sigma 0.0565 0.4520 0.2498 pcmbs-marissa.frac
6.56 sigma 0.5000 0.5000 0.2545 eu-adrian.frac
5.47 sigma 0.4797 0.5000 0.2455 eu-sol.frac
4.58 sigma 0.0314 0.0000 0.2455 gd-reece.frac
4.53 sigma 0.5000 0.1731 0.2498 gd-katherine.frac
4.30 sigma 0.1943 0.0000 0.2455 pcmbs-aubrey.frac
3.90 sigma 0.3940 0.0000 0.2511 eu-sarah.frac
3.74 sigma 0.0000 0.3739 0.2455 pcmbs-inkyu.frac
3.67 sigma 0.0107 0.1741 0.2545 pcmbs-nicole.frac
3.53 sigma 0.2946 0.0000 0.2509 gd-morgan.frac

## Slide 20: We gathered all your structure factor measurements into one file
0 = native-daniel
1 = native-diana
2 = native-duilio
3 = native-elena
4 = native-james
5 = native-janet
6 = native-jeannette
7 = native-juan
8 = native-sawaya
9 = native-scott
10 = native-shruti
11 Native
data sets
6 Lanthanide
derivatives
8 Mercury
derivatives
m230d_2024_scaled.mtz
11 = eu-adrian
12 = eu-sarah
13 = eu-sol
14 = gd-katherine
15 = gd-morgan
16 = gd-reece
17 = pcmbs-andres
18 = pcmbs-aubrey
19 = pcmbs-cameron
20 = pcmbs-inkyu
21 = pcmbs-jongsuk
22 = pcmbs-kylie
23 = pcmbs-marissa
24 = pcmbs-nicole

## Slide 21: Each line in the composite data file corresponds to one reflection h,k,l
2 1 1 18.00 16.43 0.89 182.87 0.62 70.74 1.24 211.55 3.75 -4.34 7.51 265.11 2.44 0.34 4.88 448.60 9.46 -1.42 16.22 288.00 2.48 6.32 4.97 269.17 1.14 7.83 2.29 358.12 1.90 1.28 3.80 397.79 3.96 39.11 7.93 285.77 2.08 -49.07 4.15 356.27 6.53 -27.43 13.06 155.14 2.28 -1.75 4.55 230.49 4.24 2.57 8.47 298.73 2.46 -21.24 4.93 214.39 2.93 -18.06 5.85 367.43 4.32
2 1 2 5.00 300.44 6.67 304.74 1.09 293.64 2.62 313.33 4.12 -63.24 8.24 317.38 1.37 -32.26 2.74 361.88 7.07 -25.78 12.12 346.12 2.95 -12.01 5.89 258.05 1.10 -41.28 2.21 374.12 1.87 -18.13 3.74 390.79 3.90 -19.65 7.80 394.43 2.50 29.70 5.00 350.56 6.48 18.59 12.97 180.36 2.37 -33.55 4.74 274.95 4.50 -3.85 8.99 340.59 2.31 38.76 4.62 211.78 2.93 -11.87 5.86 483.48 4.58
2 1 3 0.00 738.70 6.70 649.10 1.84 671.04 4.44 747.37 9.43 64.05 18.85 676.77 2.51 36.56 5.03 749.69 11.88 2.02 20.38 735.56 5.99 30.26 11.98 672.03 2.70 49.72 5.40 776.91 3.95 29.20 7.89 752.53 9.63 35.67 19.26 961.39 6.07 67.54 12.14 957.29 15.51 75.65 31.03 635.15 7.04 31.68 14.08 728.74 9.56 58.94 19.12 998.01 6.20 87.26 12.40 799.75 7.36 -1.50 14.72 750.40 6.90
2 1 4 16.00 460.59 4.18 368.82 1.00 416.17 2.40 573.82 7.09 -1.90 14.17 431.32 1.61 -3.08 3.22 630.73 9.63 5.39 16.54 609.57 4.86 -5.83 9.72 431.56 1.71 -2.33 3.41 556.84 2.83 4.47 5.66 569.72 5.68 -5.69 11.36 662.54 4.05 -19.00 8.09 691.51 11.57 -8.32 23.14 300.75 3.26 -5.87 6.51 452.05 6.12 -18.52 12.24 626.20 3.34 -13.53 6.69 422.47 3.63 -6.35 7.26 674.32 5.87
2 1 5 9.00 422.10 3.31 413.04 1.12 386.31 2.23 490.86 6.06 25.60 12.12 418.68 1.56 5.35 3.12 569.74 8.48 4.48 14.56 518.78 3.93 6.49 7.87 356.76 1.41 15.10 2.82 507.94 2.63 -0.59 5.27 480.29 5.04 1.49 10.08 675.91 4.06 1.10 8.12 768.02 11.48 3.24 22.96 276.61 3.09 10.04 6.17 522.35 7.29 5.13 14.58 694.67 3.71 0.44 7.42 547.12 4.69 -7.52 9.38 560.48 5.30
2 1 6 6.00 43.41 1.11 76.89 0.89 44.37 0.80 140.38 1.84 -21.12 3.68 52.34 0.73 -11.72 1.45 175.20 2.82 12.85 4.85 42.85 0.78 -8.89 1.56 77.70 0.57 -28.65 1.13 183.28 0.98 -4.38 1.97 137.82 1.21 -15.94 2.42 113.07 0.83 -11.12 1.66 147.38 2.76 0.76 5.52 87.32 2.51 12.07 5.02 37.92 3.53 -11.94 7.06 109.42 0.65 -11.80 1.30 77.11 2.34 24.27 4.69 259.05 2.52
2 1 7 11.00 498.33 3.35 336.44 0.98 363.20 1.94 644.81 7.96 23.96 15.92 362.83 1.37 10.01 2.73 406.71 6.12 14.01 10.53 581.77 4.34 14.11 8.67 399.32 1.58 13.24 3.16 418.52 2.37 7.43 4.74 387.29 3.08 2.68 6.17 417.06 2.79 7.24 5.57 471.10 6.94 6.60 13.87 328.71 3.89 10.00 7.78 389.68 5.59 8.57 11.18 395.19 2.12 0.64 4.23 365.70 3.08 1.59 6.15 376.76 3.80
2 1 8 10.00 453.79 2.61 379.35 1.15 378.21 2.03 453.17 5.59 23.88 11.19 371.12 1.39 18.11 2.79 407.30 6.43 15.68 11.07 463.29 3.46 12.72 6.92 383.41 1.52 14.08 3.04 336.34 2.01 20.18 4.02 323.40 2.59 8.37 5.19 191.99 1.67 32.30 3.34 278.38 4.65 22.22 9.29 400.24 4.31 20.70 8.62 291.32 3.91 -2.83 7.82 176.45 0.98 44.06 1.97 250.91 2.65 8.57 5.31 383.75 3.74
2 1 9 1.00 784.65 4.49 668.87 1.77 681.55 3.38 901.36 11.13 10.29 22.27 707.61 2.63 7.81 5.27 769.05 13.00 -20.14 22.41 795.40 5.93 -3.61 11.86 706.41 2.79 8.84 5.57 744.34 4.82 2.86 9.64 701.56 5.93 31.71 11.86 717.37 4.31 6.47 8.62 813.97 14.69 8.28 29.38 644.23 6.83 0.42 13.67 717.64 9.72 31.18 19.45 736.65 3.93 10.72 7.86 756.13 6.68 20.36 13.36 735.14 7.16
2 1 10 4.00 964.93 5.52 810.33 2.13 825.84 4.10 1058.62 13.09 -33.47 26.18 839.53 3.12 -19.54 6.24 760.57 11.54 -8.34 19.91 945.94 7.05 -17.37 14.11 886.92 3.50 -30.08 6.99 789.50 4.82 -11.54 9.64 784.40 6.23 -14.20 12.45 668.22 4.09 4.49 8.17 719.17 10.99 14.05 21.98 912.80 9.50 -8.16 19.00 829.03 10.77 -1.01 21.54 657.48 3.51 -0.08 7.03 826.83 7.30 1.50 14.60 834.00 8.40
2 1 11 8.00 311.34 1.75 290.47 0.95 276.86 1.41 410.02 5.19 -18.20 10.39 259.03 1.02 -5.72 2.05 286.39 4.41 -11.94 7.62 378.18 2.83 -12.33 5.66 244.32 1.00 -0.79 2.01 277.94 1.77 -9.85 3.53 250.73 2.02 -14.30 4.04 356.70 2.15 -15.48 4.29 357.24 5.29 -29.14 10.59 246.49 3.00 0.44 6.00 270.16 3.97 -19.74 7.93 359.61 1.93 -17.60 3.87 312.46 2.79 -31.51 5.58 296.82 2.99
2 1 12 1.00 487.27 2.72 549.41 1.50 515.65 2.57 480.63 5.94 -6.23 11.88 532.51 1.99 -7.02 3.99 440.24 6.71 1.10 11.62 398.84 2.98 -2.36 5.97 470.16 1.86 -7.44 3.73 527.93 3.33 -2.75 6.65 495.06 3.98 7.68 7.96 445.93 2.68 -10.11 5.36 414.74 6.22 -9.46 12.45 547.30 5.66 -3.18 11.32 506.10 7.00 -32.08 14.01 503.93 2.70 -7.25 5.39 519.23 4.36 -32.78 8.72 412.86 4.02
2 1 13 10.00 342.66 2.00 403.55 1.19 395.03 1.99 294.78 3.82 -6.60 7.65 403.29 1.53 -1.31 3.06 382.49 5.74 2.68 9.94 262.65 1.98 -1.44 3.96 358.48 1.44 -11.05 2.88 395.80 2.50 -2.18 5.00 379.41 3.02 2.49 6.03 379.66 2.29 -46.28 4.58 354.13 5.19 -44.69 10.38 347.83 4.10 -18.41 8.19 341.96 4.52 -37.37 9.03 369.20 2.00 -63.97 3.99 335.80 3.09 -37.80 6.18 372.91 3.76
2 1 14 14.00 500.76 2.79 422.36 1.23 437.78 2.20 570.56 7.05 -1.41 14.10 447.65 1.69 9.25 3.38 463.40 6.91 16.69 12.00 521.48 3.89 -5.24 7.79 515.04 2.04 9.42 4.08 462.05 2.91 -3.80 5.83 462.41 3.56 4.03 7.12 458.14 2.76 32.09 5.52 454.49 6.61 25.19 13.22 420.80 4.91 16.80 9.81 438.34 5.89 -5.95 11.78 466.16 2.50 31.01 5.00 425.81 3.77 11.66 7.55 408.88 4.00
2 1 15 19.00 364.78 2.05 317.54 1.06 337.80 1.71 447.44 5.56 -11.88 11.11 339.07 1.31 -9.44 2.62 403.34 6.04 -11.68 10.51 429.81 3.21 -5.44 6.42 372.89 1.50 -20.53 3.00 402.96 2.62 -7.13 5.25 377.96 2.92 3.66 5.84 346.11 2.13 39.95 4.26 322.08 4.81 21.52 9.61 316.41 3.73 -22.77 7.46 314.29 4.52 -5.50 9.03 346.53 1.88 39.14 3.76 301.13 2.92 12.74 5.83 405.52 4.08
2 1 16 4.00 501.13 2.80 542.49 1.51 571.44 2.85 375.05 4.66 -11.90 9.33 550.05 2.07 -4.81 4.13 511.24 7.76 -7.53 13.53 328.55 2.46 -8.63 4.93 562.34 2.26 -10.12 4.53 547.64 3.55 -2.89 7.11 532.59 4.42 17.54 8.83 440.91 2.70 9.74 5.39 369.99 5.49 10.03 10.97 515.22 5.66 14.76 11.33 498.01 6.75 0.43 13.49 457.19 2.45 9.34 4.91 460.27 4.06 10.38 8.12 583.13 5.87
2 1 17 19.00 341.81 1.95 445.14 1.31 408.49 2.06 441.73 5.50 -9.89 11.01 448.74 1.70 3.07 3.40 343.14 5.19 15.51 9.06 436.72 3.26 1.94 6.53 396.34 1.68 -12.22 3.36 329.22 2.15 2.51 4.31 336.65 2.52 -8.05 5.04 176.30 1.14 25.45 2.27 175.96 3.01 17.99 6.02 422.91 4.78 -4.31 9.56 311.15 4.33 3.00 8.65 158.48 1.05 24.36 2.10 277.86 2.78 16.05 5.56 297.91 3.12
2 1 18 18.00 349.08 1.99 429.38 1.29 418.19 2.11 260.99 3.37 -4.73 6.73 390.60 1.50 9.38 3.00 315.05 4.76 5.12 8.34 207.37 1.62 -6.73 3.23 370.37 1.54 13.71 3.08 354.14 2.32 3.98 4.64 359.87 2.68 0.50 5.37 358.02 2.21 13.07 4.42 320.54 4.82 6.79 9.64 393.74 4.56 -36.74 9.13 378.30 5.26 -14.67 10.51 349.32 1.90 22.08 3.80 401.95 3.53 2.45 7.05 305.85 3.20
2 1 19 5.00 173.95 1.28 191.88 1.20 195.03 1.13 228.06 3.15 7.64 6.29 190.13 0.95 26.14 1.91 180.39 3.03 9.63 5.32 150.27 1.37 12.86 2.75 194.59 1.00 36.78 1.99 198.61 1.36 14.76 2.73 171.81 1.38 13.40 2.77 443.94 2.93 30.24 5.87 416.08 6.10 5.44 12.21 143.07 4.02 15.90 8.04 253.65 3.88 11.16 7.77 485.41 2.61 35.97 5.22 416.74 3.65 18.70 7.31 241.92 2.54
2 1 20 16.00 321.71 1.88 392.09 1.25 413.28 2.10 272.20 3.43 10.28 6.86 407.87 1.56 6.89 3.13 387.61 5.84 6.20 10.27 252.32 1.93 -5.90 3.87 357.77 1.55 11.24 3.10 409.23 2.67 7.13 5.35 419.02 3.23 6.52 6.45 482.59 2.91 16.80 5.82 438.48 6.42 1.55 12.84 265.30 3.59 2.40 7.18 386.69 5.46 5.21 10.92 486.16 2.62 20.36 5.23 354.88 3.26 10.00 6.52 401.60 4.04
2 1 21 1.00 135.18 1.50 124.69 1.59 120.93 1.19 279.37 3.63 4.41 7.26 104.70 1.11 -3.67 2.22 201.43 3.75 -5.12 6.61 242.55 1.88 -2.48 3.76 105.93 0.96 -12.31 1.92 117.56 1.03 -0.81 2.07 98.80 1.03 -0.91 2.05 265.94 1.67 19.42 3.33 306.53 4.69 5.01 9.38 95.35 5.87 -2.72 11.74 111.61 3.53 -8.34 7.05 306.24 1.68 22.99 3.37 214.33 2.91 21.62 5.82 163.19 1.63
2 1 22 9.00 600.53 3.36 377.86 1.26 339.70 1.76 289.60 3.67 10.42 7.35 381.33 1.48 -9.02 2.97 658.23 9.92 -11.53 17.55 274.11 2.11 1.64 4.21 371.61 1.53 -24.99 3.06 555.74 3.61 0.62 7.23 463.19 3.69 -4.44 7.37 616.19 3.71 -3.12 7.41 578.38 8.42 -19.03 16.83 308.06 3.94 -18.01 7.88 405.48 5.37 -11.68 10.74 495.41 2.67 -8.62 5.33 316.13 3.13 1.76 6.26 371.66 3.63
2 1 23 3.00 523.14 2.95 540.57 1.57 580.58 2.91 867.61 10.73 21.44 21.46 537.55 2.11 2.95 4.21 534.31 8.14 8.85 14.44 970.64 7.24 10.42 14.49 503.77 2.08 13.23 4.17 551.79 3.59 8.48 7.18 538.40 4.33 -3.34 8.66 484.99 2.98 14.62 5.96 422.12 6.24 28.34 12.48 610.83 6.83 1.84 13.66 526.57 6.81 3.85 13.63 506.00 2.72 14.51 5.45 568.79 4.83 11.94 9.67 570.23 5.75
2 1 24 15.00 687.83 3.84 696.40 1.92 699.20 3.49 443.55 5.52 3.11 11.04 693.32 2.60 4.96 5.20 669.69 10.54 -13.99 18.75 339.77 2.59 -0.44 5.17 708.27 2.80 7.40 5.61 713.65 4.63 10.57 9.27 656.61 5.06 -1.40 10.13 549.45 3.37 27.32 6.75 596.35 8.72 21.91 17.44 707.19 7.45 32.61 14.91 637.18 8.23 21.28 16.46 511.13 2.76 27.63 5.51 627.17 5.28 19.44 10.57 673.52 6.56
2 1 25 15.00 393.96 2.29 170.29 1.48 172.23 1.27 721.82 8.94 7.97 17.88 141.36 1.08 -3.78 2.17 487.76 7.94 30.92 14.17 665.37 4.97 0.91 9.94 156.38 1.01 7.08 2.02 354.65 2.35 -2.53 4.69 255.06 1.94 -3.76 3.87 460.57 2.79 -14.48 5.58 378.89 6.12 -7.58 12.24 281.64 3.93 1.59 7.85 158.40 3.51 -11.19 7.01 435.53 2.36 -20.83 4.72 83.03 6.40 0.91 12.80 76.06
H
K
L
FreeR_flag
FP_native-thalia
SIGFP_native-thalia
FP_native-Jeannette
SIGFP_native-Jeannette
FP_native-ericp
SIGFP_native-ericp
FP_eu-Jason
SIGFP_eu-Jason
D_eu-Jason
SIGD_eu-Jason
FP_eu-Shervin
SIGFP_eu-Shervin
D_eu-Shervin
SIGD_eu-Shervin
FP_gd-justin
SIGFP_gd-justin
D_gd-justin
SIGD_gd-justin
FP_gd-Theodosia
SIGFP_gd-Theodosia
D_gd-Theodosia
SIGD_gd-Theodosia
FP_gd-angela
SIGFP_gd-angela
D_gd-angela
SIGD_gd-angela
FP_pcmbs-aadhishre
SIGFP_pcmbs-aadhishre
D_pcmbs-aadhishre
SIGD_pcmbs-aadhishre
FP_pcmbs-evan
SIGFP_pcmbs-evan
D_pcmbs-evan
SIGD_pcmbs-evan
FP_pcmbs-lenka
SIGFP_pcmbs-lenka
D_pcmbs-lenka
SIGD_pcmbs-lenka
FP_pcmbs-nico
SIGFP_pcmbs-nico
D_pcmbs-nico
SIGD_pcmbs-nico
FP_pcmbs-Shelby
SIGFP_pcmbs-Shelby
D_pcmbs-Shelby
SIGD_pcmbs-Shelby
FP_pcmbs-Shervin
SIGFP_pcmbs-Shervin
D_pcmbs-Shervin
SIGD_pcmbs-Shervin
FP_pcmbs-tyler
SIGFP_pcmbs-tyler
D_pcmbs-tyler
SIGD_pcmbs-tyler
FP_pcmbs-megan
SIGFP_pcmbs-megan
D_pcmbs-megan
SIGD_pcmbs-megan
FP_pmsf-fay
SIGFP_pmsf-fay

## Slide 22: All data sets were scaled to native-daniel
Data set | I/ overall
native daniel | 39
pcmbs-inkyu | 10
Fit curves using two parameters,
  a constant, k
  an exponential, B.
What is the consequence of neglecting scaling?

## Slide 23: Calculate isomorphous difference Patterson maps to find heavy atom locations.
Patterson map synthesis
P(uvw)=S (|FPH|-|FP|)2 cos2p(hx+ky+lz -ahkl)
set ahkl=0
What are these values, where do they come from?
hkl

## Slide 24: Use ccp4i interface to calculate difference Patterson maps
Scroll down Program List to find FFT for Patterson

## Slide 25: The task window for Patterson will pop up. Enter title & data file
Enter title
Browse to select m230d_2024_scaled.mtz

## Slide 26: Duilio and I assigned one difference map to each student

## Slide 27: Select native |FP|
Change F1 to select native assigned to you

## Slide 28: Select derivative |FPH |
Change F2 to select derivative assigned to you

## Slide 29: Select directory for map output. Enter title for map.
Enter appropriate title for Patterson map output.

## Slide 30: Select directory for map output. Enter title for map.
Enter extent for umin, umax, vmin, vmax, wmin, wmax

## Slide 31: We will get a list of difference Patterson peaks in the unit cell.

## Slide 32: Find the highest peak on the w=0.25 section
U=0.25

## Slide 33: Find the highest peak on the w=0.25 section
U=0.25
Note peak height and enter it in spreadsheet

## Slide 34: View difference Patterson maps with the program mapslicer
Visually verify the peaks are strong and sharp and located on Harker sections

## Slide 35: Now, use direct methods to determine coordinates of heavy atom. And then calculate phases for FP using SIRAS method.

## Slide 36: Evidence that we have strong anomalous signal
(|FNative(EricP)|-|FPCMBS(EricP)|)2
W=¼
(FPCMBS( h k l) -FPCMBS(-h-k-l))2
W=¼
EricP

## Slide 37: Enter a short title with no spaces
Continue to Use the native and derivative assigned to you

## Slide 38: Use HKL2MAP to determine Heavy atom x,y,z and calculate phases using SIRAS
And then, click SHELXC

## Slide 39: Enter native and derivative data (.sca format)
Browse for native_Jeannette
Browse for pcmbs_Megan

## Slide 40: Confirm space group and run SHELXC
confirm
Run SHELXC

## Slide 41: ShelxC estimates isomorphism

## Slide 42: ShelxC estimates isomorphism
Risom < 35% indicates isomorphism is good
d”>1.0 indicates strong anomalous signal

## Slide 43: ShelxD uses direct methods to determine heavy atom x,y,z

## Slide 44: ShelxD uses direct methods to determine heavy atom x,y,z
Enter element
Use 2.0 Å cutoff
Estimate one heavy atom
Ask for 500 trials
Run ShelxD

## Slide 45: ShelxD uses direct methods to determine heavy atom x,y,z
View graphics

## Slide 46: All 500 trials produced the same heavy atom substructure model
Great!

## Slide 47: Contrast with poor heavy atom derivative
Not great

## Slide 48: Verify heavy atom coordinates explain all Patterson peaks
checkmypatt.com x y z patterson.map
checkmypatt.com 0.255 0.697 0.063 PCMBS_Megan_minus_native_jeannette_patterson.map
REM Best SHELXD solution: CC 39.28 CC(weak) 29.39 CFOM 68.67
REM
TITL sirasJB_Megan_fa.ins SIRAS in P43212
CELL 0.98000 67.96 67.96 101.97 90.00 90.00 90.00
LATT -1
SYMM 1/2-Y, 1/2+X, 3/4+Z
SYMM -X, -Y, 1/2+Z
SYMM 1/2+Y, 1/2-X, 1/4+Z
SYMM 1/2-X, 1/2+Y, 3/4-Z
SYMM Y, X, -Z
SYMM 1/2+X, 1/2-Y, 1/4-Z
SYMM -Y, -X, 1/2-Z
SFAC HG
UNIT 256
HG01 1 0.255119 0.697151 0.063709 1.0000 0.2
HG02 1 0.197517 0.742317 -0.063921 0.1317 0.2
HG03 1 0.253120 0.796547 0.063623 0.1025 0.2
HKLF 3
END
SIRASnatJeanHgMegan_fa.res

## Slide 49: Verify all Patterson peaks are predicted (labeled).

## Slide 50: Calculate an experimental electron density map of proteinase K using SIRAS phases
Fourier synthesis
r(xyz)=S |Fhkl| cos2p(hx+ky+lz -ahkl)
hkl
We will calculate isomorphous difference Patterson maps from the diffraction data you collected and determine if heavy atoms are bound by looking for peaks on Harker sections.
We will determine the heavy atom coordinates (x,y,z) using direct methods and verify the heavy atom coordinates (x,y,z) accurately predict the observed difference Patterson peak positions (u,v,w).
We will calculate |Fbest| & phases a using isomorphous replacement and anomalous scattering (SIRAS), calculate an electron density map, and then improve the map by density modification.
We will examine the map and start building an atomic model to fit the map.
best
Where do these values come from?

## Slide 51: Calculate phases using SIRAS

## Slide 52: Clear indication original hand is correct.

## Slide 53
Original hand
Inverted hand

## Slide 54
Density modification
A) Solvent flattening.
  Calculate an electron density map.
  If r<threshold, -> solvent
  If r>threshold -> protein
  Build a mask
  Set density value in solvent region to a constant (low).
  Transform flattened map to structure factors
  Combine modified phases with original phases.
  Iterate

## Slide 55
Density modification in ShelxE

## Slide 56: SIR SIRAS MIRAS

## Slide 57: SIR SIRAS MIRAS

## Slide 58: MIR phased map + Solvent Flattening + Histogram Matching
MIRAS phased map

## Slide 59
MIR phased map + Solvent Flattening + Histogram Matching
MIRAS phased map

## Slide 60
It’s time for Model Building

## Slide 61: Display unit cell outline
Blah1
Blah2
Blah3
Cell & Symmetry
Blah5
Blah6
Blah7

## Slide 62: Open “display manager”

## Slide 63: Display skeleton

## Slide 64: Hide map, search for helix

## Slide 65: Be able to recognize a helix from different perspectives
Viewed down helical axis
Viewed perpendicular to
helical axis
90o

## Slide 66: The hole through the center of a helix is the most distinctive feature of a-helix density.
Viewed perpendicular to
helical axis
Viewed down helical axis
Often it is easier to recognize helical density when viewed down the helical axis due to the distinctive hole through the center of the helix.

## Slide 67: Translate helix center to screen center (pink box)
To translate
in x or y

## Slide 68: Zoom and center skeleton helix
Small pink box marks center of screen

## Slide 69: Rotate View (90°)to look down helix axis and re-center helix
Small pink box marks center of screen

## Slide 70: Helix directionality
1
2
3
4
5
6
7
8
9
10
Protein models are always numbered from N-terminus to C-terminus as shown here. So it is easy to tell the directionality of a helix.
But, electron density isn’t labeled with residue numbers.
What structural features are present in the electron density map to help you determine which direction to place the helix?
C-terminus
N-terminus
Backbone
nitrogens
Backbone
oxygens

## Slide 71: Return to original view. Turn on map. Which direction is the C-term of helix pointed?

## Slide 72: Calculate->Other Modeling Tools Place Helix Here.

## Slide 73: Saving first set of coordinates.
File menu
  Save coordinates
Select which coordinate set you want to save.
  1 Helix
Auto suggestion:
  Helix-coot-0.pdb
Change to:
  sawaya-coot-0.pdb
version number
1

## Slide 74: Save coordinates frequently
1) Every 5 minutes.
2) When you have done some modeling that you are especially pleased with.
3) When you are fear that the next step is going to destroy your previous work.

## Slide 75
Begin by illustrating SIR Phasing with PCMBS (Hg)
Isomorphous Differences
FP(hkl)=FP·Hg (hkl) - fHg(hkl)
We measured |FP| and |FP·Hg|.
How do we graph these quantities in complex plane?
How did we obtain the coordinates of Hg?
How do we obtain fHg(hkl)?
We will focus on the reflection h=9, k=2, l=1 reflection as an example

## Slide 76
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
FP=FP·Hg(+) - fHg(+)
-250
500
500
-500
-500
250
-250
250
|FP |
Imaginary axis
Real axis

## Slide 77
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
FP=FP·Hg(+) - fHg(+)
Hg coordinates (x,y,z) from Patterson =(0.197, 0.755, 0.935)
-250
500
500
-500
-500
250
-250
250
|FP |
Imaginary axis
Real axis

## Slide 78
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
fHg=(fHg+f’+if”)[e2pi*(h(x)+k(y)+l(z))+
e2pi*(h(-x)+k(-y)+l(½+z))+
e2pi*(h(½-y)+k(½+x)+l(¾+z)+
e2pi*(h(½+y)+k(½-x)+l(¼+z)+
e2pi*(h(½-x)+k(½+y)+l(¾-z)+
e2pi*(h(½+x)+k(½-y)+l(¼-z)+
e2pi*(h(y)+k(x)+l(-z)+
e2pi*(h(-y)+k(-x)+l(½-z)]
FP=FP·Hg(+) - fHg(+)
f’ and f” are anomalous scattering corrections specific for wavelength used.
fHg is a real number proportional to the number of e- in Hg
Hg coordinates (x,y,z) from Patterson =(0.197, 0.755, 0.935)
-250
500
500
-500
-500
250
-250
250
|FP |
Imaginary axis
Real axis
+

## Slide 79
-250
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
|fHg|=282
aHg=58°
FP=FP·Hg(+) - fHg(+)
282
58°
fHg(+)
500
500
-500
-500
250
-250
250
|FP |
Imaginary axis
Real axis
-

## Slide 80
500
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
FP=FP·Hg(+) - fHg(+)
Let’s look at the quality of the phasing statistics up to this point.
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
|FP·Hg(+)|
Real axis
Imaginary axis

## Slide 81
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
0 90 180 270 360
0 90 180 270 360
0 90 180 270 360
Which of the following graphs best represents the phase probability distribution, P(a)?
a)
b)
c)
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
|FP·Hg(+)|
Real axis
Imaginary axis
P(a)
a (degrees)
P(a)
P(a)

## Slide 82
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
Real axis
|FP·Hg(+)|
0 90 180 270 360
The phase probability distribution, P(a) is sometimes shown as being wrapped around the phasing circle.
90
0
180
270
Imaginary axis
a (degrees)
P(a)

## Slide 83
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
Which of the following is the best choice of Fp?
a)
b)
c)
Radius of circle is approximately |Fp|
500
500
-500
-500
Imaginary axis
|FP |
Real axis
|FP·Hg(+)|
90
0
180
270
90
0
180
270
90
0
180
270
90
0
180
270

## Slide 84
500
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
500
-500
-500
Imaginary axis
|FP |
Real axis
|FP·Hg(+)|
best FP = |Fp|eia•P(a)da
a
Sum of probability weighted vectors Fp
Usually shorter than Fp
0
90
180
270

## Slide 85
500
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
500
-500
-500
Imaginary axis
|Fbest |
Real axis
|FP·Hg(+)|
best FP = |Fp|eia•P(a)da
a
Sum of probability weighted vectors Fp
Usually shorter than Fp
0
90
180
270

## Slide 86
500
SIR Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
500
-500
-500
Imaginary axis
|Fbest |
Real axis
|FP·Hg(+)|
0
90
180
270
1.00
2.00
0.20
-0.20
Which of the following is the best approximation to the Figure Of Merit (FOM) for this reflection?
FOM=|Fbest|/|FP|
Radius of circle is approximately |Fp|

## Slide 87
Which phase probability distribution would yield the most desirable Figure of Merit?
0
90
180
270
+
+
0
90
180
270
+
a)
b)
500
500
-500
-500
|Fbest |
0
90
180
270
c)
SIR Phasing
FOM=0.0
FOM=0.9
FOM=0.2

## Slide 88
SIRAS Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
FP=FP·Hg(+) - fHg(+)
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
Real axis
|FP·Hg(+)|
Imaginary axis

## Slide 89
SIRAS Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
|fHg|=282
aHg*=48°
FP=FP·Hg(+) - fHg(+)
FP=FP·Hg(-)* - fHg(-)*
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
Real axis
|FP·Hg(+)|
Imaginary axis
282
48°
fHg(-)*
-

## Slide 90
SIRAS Phasing
H K L |FP| |FPH (+)| |FPH (-)| |FPH (+)| |FPH (-)|
9 2 1 486 586 611 536 499
FP=FP·Hg(+) - fHg(+)
FP=FP·Hg(-)* - fHg(-)*
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
Real axis
|FP·Hg(+)|
Imaginary axis
|FP·Hg(-)|
-fHg(-)*

## Slide 91
Isomorphous differences
Anomalous differences
SIRAS
0 90 180 270 360
Which P(a) corresponds to SIR?
Which P(a) corresponds to SIRAS?
500
500
-500
-250
-500
250
-250
250
|FP |
-fHg(+)
Real axis
|FP·Hg(+)|
Imaginary axis
|FP·Hg(-)|
-fHg(-)*
P(a)
a (degrees)