## Slide 1: Note for 2019
If you get positive peaks on the sulfurs after phenix.refine, try setting all the B-factors to a constants, such as 5.00 Å2 or 40.00 Å2. Then, refine with phenix again. The resulting fo-fc will have no residual peaks on Sulfur atoms.

## Slide 2: Perform your first round of refinement …many other rounds to follow
phenix.refine yourcoords.pdb m230d_2019_scaled.mtz refinement.input.xray_data.labels="FP_native-jeannette SIGFP_native-jeannette“ output.prefix=native-round1
Your best coordinates of native proteinase K
While this job runs, we will discuss refinement procedures and goals.
On one line, type the following:
Advance to higher round numbers for subsequent refinement rounds

## Slide 3: Products of refinement
Rwork
Rfree
Geometric quality stats
native-round1_001.pdb
native-round1_001.mtz
 Same as above, but unbiased.
 Indicates discrepancy between model and data (Fobs and Fcalc).
S|Fobs-Fcalc|
S|Fobs|
hkl
hkl
R=
 Refined coordinates.
 Structure factors with updated phases.
 Indicates deviation from ideal geometry.

## Slide 4: Why Rfree is necessary
Our goal is to obtain an atomic model that accurately represents the molecule.
Obtaining a match between Fcalc and Fobs is neccessary, but insufficient.
With poorer map resolution, the number of incorrect models that can fit the data increases.
Danger of overfitting.
Analogy to fitting a curve to a Bradford assay calibration points
Absorbance measurements are analogous to intensity measurements.
The equations are “models”.
Absorbance
Concentration
y=a*x + b
y=a*x4 + bx3 + cx2 + dx + e

## Slide 5: Why Rfree is necessary
The more data you collect, the more incorrect models you can eliminate.
Here, we see the 4th order polynomial is obviously incorrect and resulted from overfitting with too little data.
Absorbance
Concentration
y=a*x + b
y=a*x4 + bx3 + cx2 + dx + e

## Slide 6: Products of refinement
Rwork
Rfree
Geometric quality stats
native-round1_001.pdb
native-round1_001.mtz
 Refined coordinates.
 Structure factors with updated phases.
 Indicates deviation from ideal geometry.
 Same as above, but unbiased.
 Indicates discrepancy between model and data (Fobs and Fcalc).

## Slide 7: What to do with this info
Rwork
Rfree
Geometric quality stats
native-round1_001.pdb
native-round1_001.mtz
 Load in COOT.
 Load in COOT. Calculate and view improved map (new phases). Adjust coordinates to fit the improved map. Write out revised coordinates. Begin refinement round 2.
 Note values. RMSD bonds <0.02 Å. RMSD angles < 2.5°
 Note it’s value. Maintain Rfree < Rwork+5%
 Note it’s value. It should decrease in subsequent rounds.

## Slide 8: What to expect in the refined coordinates and new maps
Rworkquality stats
native-round1_001.pdb
native-round1_001.mtz
 Changes to the structure (a.k.a. “the model”) will be small, barely noticeable. But, the output model will have greatly improved geometry and fit to data providing the input structure was within the radius of convergence of refinement.
2Fobs-Fcalc map will have clearer features.
Fobs-Fcalc map will highlight the errors in your current model

## Slide 9: Fo-Fc Difference Fourier map
r(x,y,z)=1/V*S|Fobs-Fcalc|e-2pi(hx+ky+lz-fcalc)
Here, Fobs = FP_native_jeannette.
Fcalc are calculated from the current model of the protein.
Positive contours correspond to features present in the crystal that are not in the current model.
Negative contours correspond to features present in the native structure that should be removed from the current model.
Address all peaks in the difference Fourier map greater than 5 sigma.

## Slide 10: Get a sorted list of Fobs-Fcalc peaks
Ramachandran plot
Kleywegt plot
Incorrect Chiral Volumes
Unmodeled Blobs
Difference Map peaks
Check/Delete Waters Geometry Analysis
Peptide Omega Analysis
Rotamer Analysis
Density Fit Analysis
Probe Clashes
NCS differences
Pukka Puckers
Alignment vs. PIR

## Slide 11: Fobs-Fcalc reveals errors in model
Positive density
Negative density
Real Space Refine and drag
Or Autofit Rotamer

## Slide 12: Fobs-Fcalc reveals errors in model
Real Space Refine and drag
Or Autofit Rotamer

## Slide 13: water

## Slide 14: water

## Slide 15: Other solvent

## Slide 16: Other solvent

## Slide 17: Fix Ramchandran Outliers
Ramachandran plot
Kleywegt plot
Incorrect Chiral Volumes
Unmodeled Blobs
Difference Map peaks
Check/Delete Waters Geometry Analysis
Peptide Omega Analysis
Rotamer Analysis
Density Fit Analysis
Probe Clashes
NCS differences
Pukka Puckers
Alignment vs. PIR
235 A Ala

## Slide 18: Structure Refinement Schematic
aobs
Reciprocal Space
Real Space
|Fobs-native |
|Fobs-PCMBS |
|Fobs-GdCl3 |
Fit Map
FT (Coot)
FT (Phenix)
|Fcalc |in
S|Fobs-Fcalc|
S|Fobs|
|Fcalc|out
Manual Refinement
Build atoms to
FT (Coot)
2Fobs-Fcalc
map
Fit
|Fobs|
Move atoms to
acalc
Manual Refinement
FT (Phenix)
|Fcalc |in
Automatic Refinement
experimental map
Fobs-Fcalc
map
coordinates
(native-round1_001.pdb)
coordinates
(native-round1_001-coot.pdb)
coordinates
(name-coot-83.pdb)

## Slide 19
email sawaya@mbi.ucla.edu

## Slide 20: Validation statistics
Biased | Unbiased (Cross validation)
Rwork | Rfree
RMSD from ideal bond lengths and angles | Report the number of Ramachandran outliers
 | Verify3D score
 | Errat score

## Slide 21
Verify 3D plot
Indicates if the sequence has been improperly threaded through the density.
It measures the compatibility of a model with its sequence.
Evaluate for each residue in the structure:
Surface area buried
(2) Fraction of side-chain area covered by polar atoms
(3) Local secondary structure
and compare to ideal library values for each amino acid type.
Report the fraction of residues with score greater than 0.2
Backwards trace
Correct trace

## Slide 22
ERRAT examines distances between non-bonded atoms. Reports the deviations of C-C, C-N, C-O, N-N, N-O, O-O distances from distributions characteristic of reliable structures.

## Slide 23
O
N
H
BACKBONE AMIDE

## Slide 24
N
O
Asn
H
H
O
N
H
BACKBONE AMIDE
2.8 Å
BAD

## Slide 25
N
O
H
H
O
N
H
BACKBONE AMIDE
2.8 Å
Asn
GOOD

## Slide 26: Refinement
  Tools to fit the atoms to a map.
    Manual Refinement with Coot.
  Tools to improve model’s agreement with |Fobs|.
    Automated refinement with Phenix
  Tools to indicate which atoms are inconsistent with |Fobs|.
    R factor
    Difference Fourier map.
  Tools to indicate atoms which deviate from ideal geometry.
    Saves server
S|Fobs-Fcalc|
S|Fobs|
hkl
hkl
Refinement is the process of improving an atomic model so as to resemble the true structure.
Refinement cannot be completed in one session—experimental phases are not good enough to reveal all structural features at once. In fact, experimental phases are routinely abandoned when model is >65% complete. Phases are adopted from the model—more accurate than experimental phases.
Refinement is preformed in iterations (rounds). Phases will improve stepwise as we eliminate errors from the model. Corrections in one part of the model will improve entire mapImproved map will reveal new features to include in your model. Bootstrapping procedure. Ends when no new features observed.

## Slide 27: Compare & Contrast Refinement Algorithms
Manual
Coot
Real Space refinement
Local region
Large radius of convergence
Automatic
Phenix
Reciprocal Space refinement
All coordinates
Small radius of convergence
Torsion angle Ca-Cb

## Slide 28: Importance of the geometric restraints in boosting the Data to Parameter Ratio
PARAMETERS
Each atom has 4 parameters (variables) to refine:
x coordinate
y coordinate
z coordinate
B factor
In proteinase K there are approximately 2000 atoms to refine.
This corresponds to
2000*4= 8000 variables.
At 1.4 Å resolution we have 48,000 observations. About 6 observations per variable. Less chance of overfitting.
Adding stereochemical restraints is equivalent to adding observations
DATA
At 2.5 Å resolution we have 8400 observations (data points) (Fobs).
Warning: with 8000 variables and only 8400 observations a perfect fit can be obtained irrespective of the accuracy of the model. (overfitting)

## Slide 29: Geometry
Monitor RMS Deviations
  from ideal bond lengths
    (We want RMSD less than or equal to 0.02 Å)
  From ideal bond angles
    (We want RMSD less than or equal to 2.0°).

## Slide 30: Automated Refinement
Two TERMS:
Etotal = Edata(wdata)+ Egeometry
Edata minimizes discrepancy between |Fobs| & |Fcalc|.
wdata is a weight to shift the balance.
Egeometry minimizes deviation from:
ideal bond lengths
ideal bond angles
planarity (for aromatics)
& repels Van der Waals overlaps.

## Slide 31: Jeopardy clue: The appearance of the atomic model when stereochemical restraints are not included in crystallographic refinement.
What is spaghetti, Alex?
Etotal =Estereochemistry + wdata*Edata

## Slide 32: restrained not restrained

## Slide 33: 2nd Jeopardy clue: The value of the R-factor resulting when stereochemical restraints are not included in crystallographic refinement.
What is zero, Alex?
Etotal =Estereochemistry + wdataEdata

## Slide 34: Ramachandran plot offers a means of Cross Validation.
a-helix
b-sheet
Residues in most favored regions 208 90.4%
Residues in additional allowed reg 21 9.1%
Residues in generously allowed reg 1 0.4%
Residues in disallowed regions 0 0.0%
Notes: Side chains of neighboring residues point in different directions. Avoid steric clash.

## Slide 35: Native Structure Refinement
Automated Refinement—Round 1
  Phenix
  Rwork and Rfree for your model.
Validate the structure with web server
  Do this now.
  Type “procheck nativeround1_001.pdb 1.5”
  Type “evince nativeround1_001_01.ps”
  Report Ramachandran statistics on spreadsheet.
Manual Refinement
  correct errors with Coot
Automated Refinement– Round 2
  Phenix
  Report Rwork and Rfree for your model on spreadsheet.
Awards

## Slide 36: Native Structure Refinement
Automated Refinement—Round 1
  Phenix
  Rwork and Rfree for your model.
Validate the structure with web server
  Do this now.
  Google search “UCLA saves”
  Report Ramachandran statistics on spreadsheet.
Manual Refinement
  correct errors with Coot
Automated Refinement– Round 2
  Phenix
  Report Rwork and Rfree for your model on spreadsheet.
Awards

## Slide 37: Refinement procedure for native structure
phenix.refine yourcoords.pdb m230d_2018_scaled.mtz refinement.input.xray_data.labels="FP_native-kyle SIGFP_native-kyle“ output.prefix=nativeround1
Your best coordinates of native proteinase K
Then, address difference map peaks:
coot nativeround1_001.pdb nativeround1_001.mtz
On one line, type the following:
COMPLETED
NOW
Report Ramachandran statistics in spreadsheet.
NEXT
COMPLETED
NOW
Pause here for 25 minutes for manual refinement with coot.

## Slide 38: At 6:15 PM stop building. Save coordinates. Start 2nd round of automated refinement of the native structure
phenix.refine nativeround1_001-coot-#.pdb m230d_2017_scaled.mtz refinement.input.xray_data.labels="FP_native-cris SIGFP_native-cris“ output.prefix=nativeround2
Coordinates of native protein after last round of model building
Report Rwork and Rfree, RMSD bonds and angles in the spreadsheet.
On one line, type the following:

## Slide 39: Plan for later today: Solve structure of ProK-inhibitor complex
O
Ala-Ala-Pro-Val–
Cl
O
O
F
O
ProK
active site
Ser225
H
O
Methoxysuccinyl-Ala-Ala-Pro-Val-chloromethyl ketone

## Slide 40: Plan for later today: Solve structure of ProK-inhibitor complex
O
Ala-Ala-Pro-Val–
Cl
O
O
F
O
ProK
active site
Ser225
O
Covalent complex

## Slide 41: The benefit of isomorphism
protein | a (Å) | b (Å) | c (Å) | a | b | g
ProK | 67.7 | 67.7 | 101.8 | 90° | 90° | 90°
ProK+inhibitor | 68.0 | 68.0 | 102.4 | 90° | 90° | 90°
Riso=21.3%
What is maximum possible Riso?
What is minimum possible Riso?
amplitudes: Use |Finhibitor-Fnative| data measured earlier in the course
phases: phases from native proteinase K structure fcalc.
Why don’t we have to use Heavy atoms?
Why don’t we have to use Molecular Replacement?
r(x,y,z)=1/V*S|Finhibitor-Fnative|e-2pi(hx+ky+lz-fcalc)

## Slide 42: Fo-Fc Difference Fourier map
r(x,y,z)=1/V*S|Finhibitor-Fnative|e-2pi(hx+ky+lz-fcalc)
Here, Finhibitor is the observed structure factors of the protein-inhibitor complex.
Fnative is calculated from the model of the native protein after a few cycles of automated refinement.
Positive contours correspond to atoms in the inhibitor complex that are not in the native structure.
Negative contours correspond to atoms present in the native structure that should be removed in the inhibitor complex.
After model building, do more automated refinement and then validate.
Choose File menu Get Monomer type PRO

## Slide 43: Goals for Later Today
Automated Refinement—Round 1
  Phenix
  Rwork and Rfree for your model.
Manual Refinement
  Build inhibitor
Automated Refinement– Round 2
  Phenix
  Note Rwork and Rfree for your model t.
Go forth wielding the tools of X-ray crystallography and discover the secrets of other biological macromolecules.

## Slide 44: Refinement procedure for inhibitor structure
phenix.refine nativeround2_001.pdb m230d_2018_scaled.mtz refinement.input.xray_data.labels="FP_inhibitor-fay SIGFP_inhibitor-fay “ output.prefix=inhibitorround1
Your best coordinates of native proteinase K
Then, address difference map peaks:
coot inhibitorround1_001.pdb inhibitorround1_001.mtz
On one line, type the following:

## Slide 45
Peptide bond
C
CA
O
N
CA
N-terminus
C-terminus

## Slide 46
C-terminus
Peptide bond
C
CA
O
N
CA
N-terminus

## Slide 47
Main chain torsion angles
C
CA
N
f
y
phi
psi

## Slide 48: Peptide bond
CA
f
y
phi
psi

## Slide 49: Peptide bond
CA
f
y
phi
psi

## Slide 50: Stop Here
Now, use COOT to correct errors in Phenix refined model:
  coot pmsf1_001.pdb pmsf1_001.mtz
Run Phenix after COOT
  phenix.refine pmsf1_001-coot-#.pdb m230d_2016_scaled2.mtz refinement.input.xray_data.labels="FP_pmsf-lingrong SIGFP_pmsf-lingrong“ PMS.cif output.prefix=pmsf2 pmsf.edits

## Slide 51: Submit coordinates to SAVS server
Google for “UCLA SAVES”
Continue with discussion on solving the ProK-inhibitor complex structure.

## Slide 52: 4 Key Concepts
When to use isomorphous difference Fourier to solve the phase problem.
How to interpret an Fo-Fc Difference Fourier map.
Expected values of RMS deviation from ideal geometry
methods of cross-validation

## Slide 53
Validate protein structure by Running SAVES server
grep -v hex prok-native_refine_001.pdb >prok-pmsf.pdb

## Slide 54
Name _______________________
Refinement statistics | Proteinase K native | Proteinase K-PMSF
Resolution |  | 
Molecules in asymmetric unit | 1 | 
Solvent content (%) | 36.3 | 
Matthews coefficient (Å3/Da) | 1.9 | 
Number of reflections used |  | 
Rwork |  | 
Rfree |  | 
RMSD Bond lengths |  | 
RMSD Bond angles |  | 
Ramachandran plot: favored |  | 
Ramachandran plot: allowed |  | 
Ramachandran plot: generously allowed |  | 
Ramachandran plot: outliers |  | 
Number of atoms: protein |  | 
Number of atoms: solvent |  | 
Errat overall quality factor |  | 
percentage with Verify3D score>0.2 |  | 

## Slide 55: Cis vs. Trans peptide
R
R
Steric
CLASH
Ca
C
O
N
Ca
peptide plane
R
R
LOTS OF FREEDOM!
C
O
N
Ca
peptide plane
Ca

## Slide 56: Cis OK with glycine or proline
R
H
Ca
C
O
N
Ca
peptide plane
R
Ca
C
O
N
Ca
peptide plane
Steric hindrance equivalent
for cis or trans.

## Slide 57: Steric hindrance equivalent for cis or trans proline
.
R
Ca
C
N
Ca
peptide plane
O
R
Ca
C
N
peptide plane
O
Ca
Cd
Cb
Cg
Cb
Cg
Cd

## Slide 58: Think about how to get the students to work in unison. Difficult to show details of getting difference map peaks list unless they are doing it as you talk. Make sure the student’s coordinates are in one file, not split over two. We copied the native file to each person's directory for use in refinement. Never got to the inhibitor complex. Saves server failed when multiple students overburdened it. Procheck only reported one residue. Phenix did not run. Had to use refmac5. time wasted for merging water and glycerol molecules. Make sure students add ligands to the working pdb file (not new pdb file). If they add glycerol, use the extensions menu so coordinates go in right pdb. Next year: reserve room for 3 hours. Specify a meeting time in the class schedule.
~/HTML/m230d/Refinement/2015/